## Instructions (hidden)
INSTRUCTIONS | TABLE OF CONTENTS
| Sheet (see tabs at bottom) | Description
Please submit completed checklist and supplemental information (as applicable) and/or questions to ResilientDesign@cityhall.nyc.gov. | Checklist | Resilient Design Submittal Checklist
Name the file for submission using the following format: RDSC_[AGENCY]_[FMS ID]_[SUBMISSION NUMBER]_[DATE YYYYMMDD]. Example: RDSC_DEP_PS-123_1_20200925 | Appendix - Timeline Example | Resiliency actions and reporting in an example project timeline.
| Appendix - Exposure Screening | Editable Exposure Screening Tool
WHEN TO SUBMIT THE CHECKLIST | Appendix - Design Adjustment | Design adjustment datasets for heat, precipitation, and sea level rise.
All agencies shall appoint points of contact who will report to MOR on the use of the Guidelines. All agencies shall submit the Resilient Design Submittal Checklist (“Checklist”) for all projects. This spreadsheet can be submitted to ResilientDesign@cityhall.nyc.gov at the start of three points in a capital project’s lifecycle: scoping/planning, preliminary design, and final design. | Appendix - Design Strategies | Non-comprehensive list of design strategies to address climate change hazards.
Blue sections can be completed at scoping/planning. Projects that are Public Private Partnerships can complete this section during financing/procurement. | Appendix - Useful Life | Typical useful life of example buildings, infrastructure, landscape, and components
Green sections can be completed at preliminary design. | Appendix - Critical Facilities | List of facilities defined as "critical"
Purple sections can be completed at final design, and Green sections revised to reflect final design conditions as applicable.
See sheet "Appendix - Timeline Example" for an example submission timeline.
HOW TO COMPLETE THE CHECKLIST
Complete grey-shaded cells. Some are pre-populated with drop down lists.
Select the phase of submission at the top of the Checklist.
Complete the sections corresponding to the current project phase (see above). Denote if updating information between phases in the Justification column.
Justification is only required for answers denoted as "TBD," "N/A," "No," and/or "Not Feasible".
For information that is not currently available in the current phase but will be available in future phases, denote as “TBD.”
For information that is not applicable to the project because it is not relevant to the facility (ex. The project is not located in the floodplain), or not relevant to the project scope (ex. The project is upgrading equipment entirely indoors and therefore has no opportunity to improve stormwater management), denote as “N/A.”
For information that is applicable to the project but cannot be feasibly incorporated (ex. The application of the Guidelines cannot be physically/structurally accommodated based on site constraints), denote as “Not feasible”. Note that denoting an answer as “not feasible” requires further documentation submitted to justify and may require follow up with MOR or other entities.

## Resiliency Questionnaire (hidden)
| Information | Answer | Comments | CRDG Reference Section
SUBMISSION PHASE
Completed by (name):
Completed by (email):
Completed on (mm/dd/yyyy):
Project Information | PROJECT INFO
Project Name
FMS ID (when available)
Funding Source(s)
Funding Source(s) description
Managing Agency (if applicable)
Owner (if different from managing agency)
Key Contact
Contact Name, Title, Group
Contact Email Address
Contact Phone Number (1234567890)
SCOPE INFO
Type of Project
| New Construction or Substantial Improvement (as defined in the Climate Resiliency Design Guidelines) |  |  | I.
Borough
Address (123 Street, City, Zip)
BBL
GPS coordinates (decimal degrees, can be obtained by clicking on a point in Google Maps)
Brief project description, clearly highlighting the resiliency goals/proposed strategies of the project (please attach full scope to checklist submission)
Anticipated RFP release date (mm/dd/yyyy)
Anticipated design start date (mm/dd/yyyy)
Anticipated design completion date (mm/dd/yyyy)
Anticipated construction start date (mm/dd/yyyy)
Anticipated construction completion date (mm/dd/yyyy)
| Project Useful Life (as defined in the Climate Resiliency Design Guidelines) |  |  | I.B
Does the proejct include a building, structure, and/or critical equipment?
| List project components or systems that have useful lives that deviate from the overall project useful life. |  |  | I.B
| Project Criticality (as defined in the Climate Resiliency Design Guidelines) |  |  | I.C
| Project Magnitude (as defined in the Climate Resiliency Design Guidelines) |  |  | I.C
| perfect | 0
Exposure Screening Tool | Complete sheet "Appendix - Exposure Screening"
| Did the project score "medium" or "high" for heat? If "no", using the Guidelines for heat is not required. Do not complete the heat section during preliminary design. If "yes," proceed to the Guidelines sections described for guidance. |  |  | III.B
| Did the project score "medium" or "high" for precipitation? If "no", using the Guidelines for precipitation is not required. Do not complete the precipitation section during preliminary design. If "yes," proceed to the Guidelines sections described for guidance. |  |  | III.B
| Did the project score "medium" or "high" for sea level rise? If "no", using the Guidelines for SLR is not required. Do not complete the SLR section during preliminary design. If "yes," proceed to the Guidelines sections described for guidance. |  |  | III.B
| Is the project located within the tidal inundation zone as defined in the Guidelines over the course of its useful life? If "yes," proceed to the Guidelines sections described for guidance. |  |  | III.B
If the answer is "no" to all 4 screening questions above, using the Guidelines is not required and no further submissions are necessary. Did the project answer "no" to all 4 screening questions?
| If the project is located in the current or future tidal inundation zone, include justification for why the project cannot be reasonably accommodated at another site. Attach relevant documentation to this submission. |  |  | II.C.1.b
Application of the Guidelines | See sheets "Appendix - Design Adjustment" and "Appendix - Design Strategies"
HEAT
| Heat Vulnerability Index (HVI) rating (map here) |  |  | II.A.1.a
| Total square footage of project site |  |  | II.A.1.a
| Total project site square footage that is shaded, vegetated, and/or high solar reflectance surfaces. |  |  | II.A.1.a
| Percentage of project site area that is shaded, vegetated, and/or high solar reflectance surfaces. | 0% |  | II.A.1.a
| Primary design strategy selected to address exposure to increasing heat. |  |  | Appendix 4
| Additional design strategy (if applicable) selected to address exposure to increasing heat. |  |  | Appendix 4
| Additional design strategy (if applicable) selected to address exposure to increasing heat. |  |  | Appendix 4
| Describe any additional design strategies that provide shading, vegetation, and/or high solar reflectance surfaces. Refer to sheet "Appendix - Design Strategies" for examples of potential design strategies. |  |  | II.A.1.a
| For industrial facilities, describe sources of heat from industrial processes, if applicable. |  |  | II.A.1.b
| For industrial facilities, describe mitigation strategies for heat from industrial processes, if applicable. |  |  | II.A.1.b
| Describe the materials and systems that are designed to withstand projected extreme heat events. |  |  | II.A.2.a-b
| Describe heat-related points of failure as applicable, and how these points are mitigated. |  |  | II.A.2.c
| For occupied projects, does the project provide mechanical cooling? Justification is required below if "no" is selected. |  |  | II.A.3.a
| For occupied projects, if the project does not incorporate mechanical cooling, describe the alternate cooling methods as applicable. |  |  | II.A.3.a
Capital cost associated with incorporating heat design criteria, if applicable. ($)
| Has the project addressed exposure to increasing heat? |  |  | III.C
PRECIPITATION
| Is the project located in a CSO or MS4 area? (map here) |  |  | II.B.1.a-b
| Is the site, primary access roads to the site, primary road frontage at the site, and/or immediately adjacent properties located an area of extreme storwmater flooding? (map here) |  |  | II.B.1-2
| Stormwater management system design storm |  |  | II.B.1-2
Percentage upsized onsite retention/detention (if applicable) (%)
| Primary enhanced on-site stormwater design strategy selected to address increasing precipitation. |  |  | Appendix 4
| Additional on-site design strategy (if applicable) selected to address increasing precipitation. |  |  | Appendix 4
| Primary design strategy (if applicable) selected to mitigate stormwater flood damage to buildings, structures, or critical equipment |  |  | Appendix 4
Additional design strategy (if applicable) selected to mitigate stormwater flood damage to buildings, structures, or critical equipment
| Provide a narrative of the stormwater management strategies incorporated to enhance on-site stormwater management, and if applicable, mitigate flood damage to buildings. Refer to sheet "Appendix - Design Strategies" for examples of potential design strategies. |  |  | II.B.1.a-b
Capital cost associated with incorporating precipitation design criteria, if applicable. ($)
| Has the project addressed exposure to increasing precipitation? |  |  | III.C
SEA LEVEL RISE
| Is the project located within the tidal inundation zone as defined in the Guidelines over the course of its useful life? |  |  | II.C.1.a-b
| Is the project located within or partly within the current 1% annual floodplain (PFIRM)? |  |  | II.C.2.a-c
| Is the project located within or partly within the future 1% annual floodplain? |  |  | II.C.3.a-c
Site high point elevation (feet, NAVD88)
Site low point elevation (feet, NAVD88)
| FEMA 1% Base Flood Elevation (BFE) (feet, NAVD88) |  |  | Table 4
| Freeboard (inches) |  |  | Table 4
| Sea Level Rise Adjustment (SLRA) (inches) |  |  | Table 4
| Calculated Design Flood Elevation (BFE + Freeboard + SLRA) (feet, NAVD88) |  |  | Table 4
Actual Design Flood Elevation (feet, NAVD88)
| Primary design strategy selected to address exposure to sea level rise. |  |  | Appendix 4
| Additional design strategy (if applicable) selected to address exposure to sea level rise. |  |  | Appendix 4
| Additional design strategy (if applicable) selected to address exposure to sea level rise. |  |  | Appendix 4
| Provide a narrative on the design interventions that mitigate risks from SLR. Refer to sheet "Appendix - Design Strategies" for a examples of potential design strategies. |  |  | II.C.4
Capital cost associated with incorporating sea level rise design criteria, if applicable. ($)
| Has the project addressed exposure to sea level rise? |  |  | III.C
Cost | How are capital costs projected to change as a result of incorporating resilient design?
| Total capital cost associated with incorporating resiliency design criteria, if applicable. ($) | 0 |  | III.D
How are annual expense costs projected to change as a result of incorporating resilient design?
| Projected increase in annual expense costs associated with operating and maintaining facility due to incorporating resilient design criteria, if applicable. ($) | 0 |  | III.D
| If applicable, attach the final completed BCA analysis to Checklist submission. | Attach |  | III.D
| For projects $50M or greater, include final Benefits Cost Analysis (BCA) ratio. |  |  | III.D
Deviation | If applicable, provide justification for why part or all of the project is incapable of accommodating design criteria for relevant climate hazards. Please describe 1) if the application of the Guidelines are in conflict with the purpose and need of the project, 2) if the application of the Guidelines would impact the use of adjoining properties, including impacts to access, views, drainage, shading, noise, or other relevant impacts, 3) if the application of the Guidelines cannot be physically/structurally accommodated based on site constraints. |  |  | I.F
| If the project cannot incorporate mechanical cooling, provide final justification for why the project cannot reasonably accommodate this design strategy, and the alternative cooling strategies employed. Attach relevant documentation to this submission. |  |  | II.A.3.a
| If the project is located in the current or future tidal inundation zone, provide final justification for why the project cannot be reasonably accommodated at another site. Attach relevant documentation to this submission. |  |  | II.C.1.b

## Appendix - Exposure Screening
Exposure Screening Tool
General | Criticality | See "Appendix - Criticality"
| Cost | Major or Minor project
| Estimated useful life (years) | See "Appendix - Useful Life" | 0
| Projected construction completion date (calendar year) | Review preliminary schedule to determine projected calendar year of construction completion | 0
| Projected end of useful life (year) | Sum of the above (autocalculated) | 0
| Climate projections | See "Appendix - Design Adjustment" | Present to 2039
Exposure Screening Tool
| Risk Screening Question | Directions | Answer | FOR SCORING | Total Score and Next Steps
Heat | Does the facility include new construction of, or substantial improvements to, the landscape, hardscape, roof, HVAC, building envelope, ventilation system, or façade? | All parts of NYC are exposed to extreme heat. New construction projects or substantial improvements that include changes to the landscape, hardscape, roof, HVAC, building envelope, ventilation system, or façade could affect the material performance of a project, thermal comfort of occupants, and/or increase ambient temperatures. If the project includes any of those components, answer 'yes.' | No = 0 | 0
[5 empty] | Total Score | Exposure Rating
[5 empty] | 2-5 | Low
[5 empty] | 6-8 | Medium
[5 empty] | 9-10 | High
Heat Vulnerability Score
| Is the facility in a neighborhood tabulation area with high heat vulnerability? | Identify the neighborhood tabulation area your facility is located in. Locate that neighborhood tabulation area on the Heat Vulnerability Index map located in Section II.A of the Guidelines and note the area’s vulnerability. Select the corresponding answer. HVI map: http://a816-dohbesp.nyc.gov/IndicatorPublic/VisualizationData.aspx?id=2411,719b87,107,Summarize NTA map: https://data.cityofnewyork.us/City-Government/NTA-map/d3qk-pfyz | Low = 1 | 1
# of Heat Waves
| How many annual heat waves are projected to occur at the end of the facility’s useful life? | See Section II.A of the Guidelines and note the annual heat wave projection according to the useful life of the facility. Select the corresponding answer. | 2 days = 1 | 1
[5 empty] | SCORE | 2
[5 empty] | EXPOSURE RATING | Low
Precipitation
| Does the facility require a new DEP site connection proposal, or a modification to the existing site connection plan? | The intensity and frequency of precipitation events are projected to increase across all parts of NYC, creating new challenges for stormwater management and impacts to the built environment. New construction projects provide opportunities to accommodate increased precipitation flow volumes, and typically require submitting a new site drainage connection proposal to DEP for review and approval. If a project is a substantial improvement, the scope of work of the substantial improvement would dictate if the previously approved DEP site connection plan will require modifications. If a new site connection proposal or modifications are required, answer ‘yes.’ | Yes = 2 | 2 | Total Score | Exposure Rating
[5 empty] | 1 | Low
[5 empty] | 2 | Medium
[5 empty] | 3-4 | High
| Is the site located within an area at risk to future stormwater flooding, AND includes a building, structure, and/or critical equipment? | Visit NYC Stormwater Flood Maps. Click on the button for "Extreme Stormwater Flood." Search for or navigate to the site. If the site, primary access roads to the site, primary road frontage at the site, and/or immediately adjacent properties are shown to be at risk from stormwater flooding, answer 'yes'. https://experience.arcgis.com/experience/4b290961cac34643a49b9002f165fad8/ | No = 0 | 0
| Will there be a net increase in impervious area on the site as a result of the project? | Refer to preliminary site plans (if they are part of the project scope) or consult with Capital Project Initiation team. Choose ‘yes’ if a net increase in impervious area is anticipated. | No = 0 | 0
[5 empty] | SCORE | 2
[5 empty] | EXPOSURE RATING | Medium
Sea Level Rise
| Current Flood Risk Is the facility in the current 1% annual chance floodplain (100-year)? | Visit NYC Flood Hazard Mapper.* Click on the Map Legend and select the ‘Preliminary Flood Insurance Rate Maps 2015’. Search for or navigate to the site to see if it is located within the current effective floodplain. If the site is shown to be all or partly in the current floodplain, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper | Yes = 1 | 1 | Total Score | Exposure Rating
[5 empty] | 0 | Not Exposed
[5 empty] | 1 | Low
[5 empty] | 2 | Medium
[5 empty] | >3 | High
| Future Flood Risk Is the facility in the future 1% annual chance floodplain (100-year) at any point during its useful life? | Visit NYC Flood Hazard Mapper.* Click on the Map Legend and select the ‘Future Floodplain’ that corresponds to the project useful life. Search for or navigate to the property to see if it is located within the future floodplain. If the site is shown to be all or partly in the future floodplain, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper | Yes = 2 | 2
| Current Tidal Inundation Does this site have a history of flooding from high tide events? | Potential sources to answer this question include institutional knowledge (for example, if this site floods during regular high tides) or history of 311 service requests (see hyperlink below). If the site is shown to have a history of tidal flooding, answer ‘yes.’ https://data.cityofnewyork.us/Social-Services/Street-Flooding/wymi-u6i8 | No = 0 | 0
| Future Tidal Inundation Are there critical access roads to the site that will be inundated by future high tides? | Visit the NYC Flood Hazard Mapper.* Click on the Map Legend and select the “High Tide” scenario that corresponds to the project useful life. Identify if any primary access roads to the site are inundated from high tide plus sea level rise. If the site is shown to have roads at risk of tidal inundation, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper | No = 0 | 0
*For more information on how to use the Flood Hazard Mapper, see Climate Resiliency Design Guidelines Section II.C.
[5 empty] | SCORE | 3
[5 empty] | EXPOSURE RATING | High
SCA Specific Project Instructions: -Complete all grey shaded cells.
-Consult NYC Climate Resiliency Design Guidelines v4.1 and data available at links included in the tables below. -Estimated useful life for New Construction and Major Renovation projects should be 100 years; estimated useful life for tenant improvement projects should be 30 years.
SCA Specific Project Note: If project budget is less than $50 million and scores "Medium" or "High" in the Heat category, consult Section II. A in the Guidelines and consider modifications to the current design to address the triggered climate risk.
SCA Specific Project Note: If project budget is more than $50 million and scores "Medium" or "High" in the Heat category, consult Section II. A in the Guidelines and provide a list of recommendations for modifications to the current design to address the triggered climate risk. Include an order of magnitude cost for each recommended measure.
SCA Specific Project Note: If project budget is less than $50 million and scores "Medium" or "High" in the Precipitation category, consult Section II. B in the Guidelines and consider modifications to the current design to address the triggered climate risk.
SCA Specific Project Note: If project budget is more than $50 million and scores "Medium" or "High" in the Precipitation category, consult section II. B in the Guidelines and provide a list of recommendations for modifications to the current design to address the triggered climate risk. Include an order of magnitude cost for each recommended measure.
SCA Specific Project Note: If project budget is less than $50 million and scores "Medium" or "High" in the Sea Level Rise category, consult Section II. C in the Guidelines and consider modifications to the current design to address the triggered climate risk.
SCA Specific Project Note: If project budget is more than $50 million and scores "Medium" or "High" in the Sea Level Rise category, consult Section II. C in the Guidelines and provide a list of recommendations for modifications to the current design to address the triggered climate risk. Include an order of magnitude cost for each recommended measure.

## Appendix - Timeline Example (hidden)
PROJECT TIMELINE - EXAMPLE
Resiliency actions and associated reporting incorporated into an example project timeline. Reporting requirements are submitted to ResilientDesign@cityhall.nyc.gov.
Resilient design is most effective when incorporated as early as possible. The exposure screening during scoping/planning should inform the project funding request and procurement.
Projects that are Public Private Partnerships shall complete the scoping/planning section during financing/procurement.
Project Phase | Resiliency Action | Description | Reporting
Scoping/Planning | Incorporate resiliency considerations into project scope development/early planning. | Collect information on type of project, useful life, criticality, operational goals, expected location, and estimated cost for use in exposure screening and risk assessment. | Resilient Design Submittal Checklist - Planning and Schematic Phase Submission (blue sections)
| Screen the project for climate change related hazards using the Exposure Screening Tool | Assess exposure to changing climate conditions. | Resilient Design Submittal Checklist Appendix - Exposure Screening
Preliminary Design | Integrate resilient design strategies | Use the Climate Resiliency Design Guidelines to design project to withstand climate change projections for heat, precipitation, and sea level rise. | Resilient Design Submittal Checklist - Preliminary Design Phase Submission (green sections)
| Assess risk | For projects with total costs greater than $50 million, assess likelihood and consequence of climate change hazards to the project. | Risk Assessment
| Analyze costs and benefits | Conduct analysis of the benefit/cost implications of the project as necessary. Use the qualitative assessment for projects below $50 million and the in-depth assessment for larger projects. | BCA Analysis
Final Design | Finalize resilient design strategies | Evaluate results to determine incorporation of resiliency strategies in final design. | Resilient Design Submittal Checklist - Final Design Phase Submission (purple sections)

## Appendix - Design Adjustment (hidden)
Design Adjustment Criteria
Provided for reference. Full datasets can be found in the Climate Resiliency Design Guidelines Appendices.
HEAT
Current and projected extreme heat events and design criteria.
| Extreme heat events |  |  | Design criteria
End of | # of heat waves per year | # days at or above 90°F | Annual average temperature | 1% Dry Bulb temperature | Cooling Degree Days
useful life |  |  |  |  | (base = 65°F)
Historic Trend | 2 | 18 | 54°F | 91°F | 1149
(1971-2000)
2020s | 4 | 33 | 57.2°F | -- | --
(through to 2039)
2050s | 7 | 57 | 60.6°F | 98°F | 2149
(2040-2069)
2080s | 9 | 87 | 64.3°F | -- | --
(2070-2099)
Note: Due to HVAC system typical useful life of around 25 years, only design criteria projections for the 2050s are shown. Projections for the 2020s are not shown because it is anticipated that enough of a safety margin is employed already in current systems to withstand the temperature rise expected through the 2020s. The NPCC is developing projections of 1% Wet Bulb temperatures, which are expected to increase. This design criteria will be added in a later version of the Guidelines.
PRECIPITATION
See CRDG Section II.B for design strategies
SEA LEVEL RISE
Sea level rise-adjusted (SLRA) design flood elevation (DFE)
Critical* Facilities
End of Useful Life | Base Flood Elevation (BFE)56 in NAVD 88 | + Freeboard57 | + Sea Level Rise Adjustment58 | = Design Flood Elevation (DFE) in NAVD 88
2020s | FEMA 1% (PFIRM) | 24” | 6” | = FEMA 1% + 30”
(through to 2039)
2050s | FEMA 1% (PFIRM) | 24” | 16” | = FEMA 1% + 40”
(2040-2069)
2080s | FEMA 1% (PFIRM) | 24” | 28” | = FEMA 1% + 52”
(2070-2099)
2100+ | FEMA 1% (PFIRM) | 24” | 36” | = FEMA 1% + 60”
Non-critical Facilities
2020s | FEMA 1% (PFIRM) | 24” | 6” | = FEMA 1% + 30”
(through to 2039)
2050s | FEMA 1% (PFIRM) | 24” | 16” | = FEMA 1% + 40”
(2040-2069)
2080s | FEMA 1% (PFIRM) | 24” | 28” | = FEMA 1% + 52”
(2070-2099)
2100+ | FEMA 1% (PFIRM) | 24” | 36” | = FEMA 1% + 60”
Additional analysis should be conducted to incorporate wave action and wave run-up in DFE calculations especially in areas that are located within the FEMA’s 1% annual chance Limit of Moderate Wave Action (LiMWA) zone. Wave run-up is the maximum vertical extent of wave uprush above surge.

## Appendix - Design Strategies (hidden)
Design Strategies List
This table presents a non-comprehensive list of design strategies to address climate change hazards, as described throughout the Guidelines.
Design Strategies Checklist (not exhaustive)
Extreme Heat |  | Extreme Precipitation |  | Sea Level Rise & Storm Surge
| Mechanical Cooling System |  | Bioswales |  | Select High Elevation Site
| Minimize East-West Building Orientation |  | Green roof |  | Select Higher Elevation within Existing Site
| Passive Solar Cooling and Ventilation Systems |  | Planters |  | Raise Building Floor Elevation
| Cool Roof (SRI appropriate) |  | Grass filter strip |  | Waterproof Building Envelope
| Green Roof (extensive) |  | Permeable or open grid pavements |  | Elevate Critical Building Functions
| Vegetated Structures (planters, walls) |  | Rainwater reuse cisterns |  | Elevate Critical Equipment
| Enhanced HVAC System, including space layout optimization, system scalability, and improved controls |  | Trees and shrubs |  | Perimeter Floodwall/ Levee (passive or active)
| More Efficient Building Envelope |  | Vegetated structures (walls, etc.) |  | Dry/Wet Floodproofing
| Shade Structures |  | Vegetated planters |  | Utility Redundancy Design
| Structures Covered by Energy Generation Systems |  | Upsize detention/retention systems |  | Resilient Materials & Landscape Treatments
| Light Colored Pavements (appropriate SRI) |  | Reduce impervious surfaces |  | Design for Storm Surge Outflow
| Increase Planted Areas |  | Preserve natural/native vegetation |  | Install Backwater Flow Prevention
| Permeable Surfaces and Open-grid Pavement |  | Reduce native soil disturbance |  | Design for Scour
| Bioswales |  | Deployable flood barriers |  | Raise Road Elevation
| Daylighting |  | Build structures at a higher elevation within the existing site |  | Flexible Adaptation Pathway
| Window shading |  | Dry floodproof below-grade areas |  | Constructed Wetland
| Operable windows |  | Elevate critical equipment |  | Preservation of Natural Wetland
| Waste Heat Recovery |  | Wet floodproofing |  | Other:
| Solar + Storage |  | Select water-resistant finishes
| Trees and Shrubs |  | Exterior waterproofing
| Preservation of Natural Vegetation |  | Design basement and ground floor walls to tolerate anticipated flood loads
| Other: |  | Redundant/elevated conduit entrances
Install back-up power
Protect below-ground utilities from water damage
Install backwater valves
Install sump pumps
Locate primary building frontage outside of stormwater flooding area
Incorporate cloudburst management
Direct floodwaters away from critical equipment, building access points/towards detention areas
Other:

## Appendix - Useful Life (hidden)
Useful Life
Facilities and components and associated climate change projections
Climate Change Projections (time period covered) | Examples of buildings, infrastructure, landscape, and components grouped by typical useful life
2020s (through to 2039) | Temporary or rapidly replaced components and finishings | • Interim and deployable flood protection measures
• Asphalt pavement, pavers, and other ROW finishings
• Green infrastructure
• Street furniture
• Temporary building structures
• Storage facilities
• Developing technology components (e.g., telecommunications equipment, batteries, solar photovoltatics, fuel cells)
2050s (2040-2069) | Facility improvements, and components on a regular replacement cycle | • Electrical, HVAC, and mechanical components
• Most building retrofits (substantial improvements)
• Concrete paving
• Infrastructural mechanical components (e.g., compressors, lifts, pumps)
• Outdoor recreational facilities
• At-site energy equipment (e.g., fuel tanks, conduit, emergency generators)
• Stormwater detention systems
2080s (2070-2099) | Long-lived buildings and infrastructure | • Most buildings (e.g., public, office, residential)
• Piers, wharfs, and bulkheads
• Plazas
• Retaining walls
• Culverts
• On-site energy generation/co-generation plants
2100+ | Assets that cannot be relocated | • Major infrastructure (e.g., tunnels, bridges, wastewater treatment plants)
• Monumental buildings
• Road reconstruction
• Subgrade sewer infrastructure (e.g., sewers, catch basins, outfalls)

## Appendix - Critical Facilities (hidden)
Critical Facilities
Facilities defined as critical
The criticality definitions below are for use in the application of the Guidelines only. All items identified as critical in NYC Building Code Appendix G are critical in these Guidelines; however, this list includes additional facilities that are not listed in Appendix G. If a facility is not listed here, it is considered non-critical for the purposes of these Guidelines.
• Hospitals and health care facilities;
• Fire, rescue, ambulance, and police stations, as well as emergency vehicle garages;
• Jails, correctional facilities and detention facilities;
• Facilities used in emergency response, including emergency shelters, emergency preparedness, communication, operation centers, communication towers, electrical substations, back-up generators, fuel or water storage tanks, power generating stations and other public utility facilities;
• Critical aviation facilities such as control towers, air traffic control centers and hangars for aircraft used in emergency response;
• Major food distribution centers (with an annual expected volume of greater than 170,000,000 pounds);
• Buildings and other structures that manufacture, process, handle, store, dispose, or use toxic or explosive substances where the quantity of the material exceeds a threshold quantity established by the authority having jurisdiction and is sufficient to pose a threat to the public if released;
• Infrastructure in transportation, telecommunications, or power networks including bridges, tunnels (vehicular and rail), traffic signals, (and other right of way elements including street lights and utilities), power transmission facilities, substations, circuit breaker houses, city gate stations, arterial roadways, telecommunications central offices, switching facilities, etc.;
• Ventilation buildings and fan plants;
• Operations centers;
• Pumping stations (sanitary and stormwater);
• Train and transit maintenance yards and shops;
• Wastewater treatment plants;
• Water supply infrastructure;
• Combined-sewer overflow (CSO) retention tanks;
• Fueling stations;
• Waste transfer stations; and
• Facilities where residents have limited mobility or ability, including care facilities and nursing homes.

## Background (hidden)
CHECKLIST
Submission Phase | Type of Project | Extent of Construction | Borough | Criticality | Magnitude | Useful Life | CSO vs MS4 | Floodplain | Mechanical Cooling | Exposure Screening | Risk Mitigation | HVI Score | Cost | Funding | Extreme Stormwater Flooding
Scoping/Planning | Building | New Construction | Brooklyn | Critical | Non-major project (total cost under $50M) | Present to 2039 | CSO | Yes | Yes | Yes | Yes | 1 | Increase | City | Yes
Preliminary Design | Infrastructure | Substantial Improvement | Bronx | Non-critical | Major project (total cost $50M or more) | 2040 to 2069 | MS4 | No | No | No | No | 2 | Decrease | State | No
Final Design | Landscape/Park/Site Improvement |  | Manhattan |  |  | 2070 to 2099 |  |  | N/A |  | N/A | 3 | No Change | Federal
| Other (please specify) |  | Queens |  |  | 2100 and beyond |  |  |  |  | TBD | 4 | N/A | City and State
|  |  | Staten Island | [7 empty] | Not Feasible | 5 | TBD | City and Federal
Grant
Combination/other
EXPOSURE SCREENING TOOL
Heat 1 | Heat 2 | Heat 3 | Precip 1 | Precip 2 | Precip 3 | SLR 1 | SLR 2 | SLR 3 | SLR 4
Yes = 1 | Low = 1 | 2 days = 1 | Yes = 2 | Yes = 2 | Yes = 1 | Yes = 1 | Yes = 2 | Yes = 1 | Yes = 1
No = 0 | Low-Moderate = 2 | 4 days = 2 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0
| Moderate = 3 | 7 days = 3
| Moderate-High = 4 | 9 days = 4
High = 5
DESIGN STRATEGIES
Extreme Heat | Extreme Precipitation | Sea Level Rise & Storm Surge
Mechanical Cooling System | Bioswales | Select High Elevation Site
Minimize East-West Building Orientation | Green roof | Select Higher Elevation within Existing Site
Passive Solar Cooling and Ventilation Systems | Planters | Raise Building Floor Elevation
Cool Roof (SRI appropriate) | Grass filter strip | Waterproof Building Envelope
Green Roof (extensive) | Permeable or open grid pavements | Elevate Critical Building Functions
Vegetated Structures (planters, walls) | Rainwater reuse cisterns | Elevate Critical Equipment
Enhanced HVAC System, including space layout optimization, system scalability, and improved controls | Trees and shrubs | Perimeter Floodwall/ Levee (passive or active)
More Efficient Building Envelope | Vegetated structures (walls, etc.) | Dry/Wet Floodproofing
Shade Structures | Vegetated planters | Utility Redundancy Design
Structures Covered by Energy Generation Systems | Upsize detention/retention systems | Resilient Materials & Landscape Treatments
Light Colored Pavements (appropriate SRI) | Reduce impervious surfaces | Design for Storm Surge Outflow
Increase Planted Areas | Preserve natural/native vegetation | Install Backwater Flow Prevention
Permeable Surfaces and Open-grid Pavement | Reduce native soil disturbance | Design for Scour
Bioswales | Deployable flood barriers | Raise Road Elevation
Daylighting | Build structures at a higher elevation within the existing site | Flexible Adaptation Pathway
Window shading | Dry floodproof below-grade areas | Constructed Wetland
Operable windows | Elevate critical equipment | Preservation of Natural Wetland
Waste Heat Recovery | Wet floodproofing | Other
Solar + Storage | Select water-resistant finishes
Trees and Shrubs | Exterior waterproofing
Preservation of Natural Vegetation | Design basement and ground floor walls to tolerate anticipated flood loads
Other | Redundant/elevated conduit entrances
Install back-up power
Protect below-ground utilities from water damage
Install backwater valves
Install sump pumps
Locate primary building frontage outside of stormwater flooding area
Incorporate cloudburst management
Direct floodwaters away from critical equipment, building access points/towards detention areas
Other
Background Data - DO NOT EDIT