| Project: |  | Firm: |  |
| --- | --- | --- | --- |
| Address: |  | AOR: |  |
| LLW #: |  | LEED AP: |  |

Summary

The SCA, in accordance with LL 86 of 2005, requires that applicable projects such as this project achieve NYC Green Schools Guide (GSG) certification.  This toolkit follows the various Construction Phase credits required for GSG certification and for LL 86/05 reporting in order to facilitate the process for all involved.

Roles and Responsibilities are assigned to ensure that GSG construction phase requirements are being met, and that all required documentation, including the appropriate level of quality and completeness, is submitted and collected at the appropriate time.

AOR is responsible for reviewing the Contractor’s construction phase submittals for compliance with specified sustainability requirements.  In addition, the AOR is to review all “Substitutions” to ensure that they meet or exceed these requirements.  The AOR and its LEED AP are to review Contractor’s Compliance Certifications and supporting documentation.  During the construction phase, the AOR and LEED AP are to update the status portion of this document as a tracking mechanism.  This compliance review and tracking, and related communication with PO and Contractor, will ensure the AOR is able to assemble and deliver the overall GSG Construction Phase Submission to the SCA prior to TCO.  In preparing the GSG Construction Phase Submission, the AOR is to modify the narratives for the Construction Phase credit as appropriate based on the submitted information.

SCA PO is responsible for tracking the activities of the Contractor and assuring compliance with the Contract Documents, including the Sustainability requirements.  PO must work collaboratively with AOR and its LEED AP in the effort to gather and ensure the quality of the necessary GSG documentation collected and submitted by the Contractor for the GSG credits.  PO must ensure that the Contractor satisfies the contract requirements that AOR will need in order to create the GSG Construction Phase Submission.

Commissioning Authority (CxA) is responsible for review of Contractor submittals applicable to systems being commissioned for compliance with the OPR and BOD, verifying the installation and performance of the systems to be commissioned, review & verification of project turnover packages for commissioned systems (e.g. Certification, test data, O/M manuals, training recording, warranty/guarantee, as-built dwgs etc.) and tracking of all closeout activity information in CM-13.  The CxA may also review building operations with the DOE operations & maintenance staff within ten months after substantial completion.

Contractor is responsible for providing submittals, forms, information and certifications related to recycled content of materials, locally manufactured materials, low-emitting materials, construction waste recycling, commissioning and implementation of construction outdoor construction activity and  indoor air quality management plans which are required by the Contract Documents, and are required to achieve GSG Certification.

Sustainability Requirements:  Section S01352 of the Contract Specifications contains definitions, sustainable requirements, submittals information, and forms used to report certain construction activities that the Contractor is responsible to document.  The forms are available on the SCA’s Website for the Contractor’s use. Sustainability requirements are included in each section of the Specifications; the related sections are listed for reference in each GSG Credit.  The PO/AOR must collect the required documentation of Sustainable measures from the Contractor.  AOR is to ensure that Contract-specific sustainable requirements are included in this document to facilitate tracking.

Bi-Weekly Progress Meetings:  During the biweekly project meetings, the AOR and its LEED AP are to track the Contractor’s timely progress in collecting and submitting information/documentation that is required by contract for inclusion in the Contractor’s Construction Phase Submission at the time of occupancy of the building.  This progress is to be documented in the meeting minutes.

GSG Credit:	S1.1R - Construction Activity Pollution Prevention

PO to verify that Contractor implements all measures required to prevent Construction Activity Pollution (air and storm water) as shown on Erosion and Sedimentation Control (ESC) Plan (and Storm Water prevention Plan (SWPP), if required) and in the specifications.  If the civil engineer has not developed an ESC-SWPP plan for the project, Contractor is required to create one.  For interior fit out projects, the plan will be a dust prevention plan in accordance with Section S01900 rather than the ESC.

AOR to verify the Contractor provides the following, and indicate status by completing boxes/blanks below:

Erosion and Sedimentation Control Plan (ESC), consisting of narrative and drawings, has been provided by Contractor for review and tracking by AOR. (For projects less than 1 acre, ECS Plan will be developed by Contractor, based on Schematics provided by AOR.) ( Pre-Sitework Activity

Date:

Erosion and Sedimentation Control Plan (ESC) has been implemented by Contractor, and this has been confirmed by SCA PO. ( During-Sitework Activity

Date:

Photographs and Inspection Logs documenting ESC-SWPP measures have been taken by Contractor throughout construction phase, and have been submitted to AOR for review and tracking.

Date: ( During-Sitework Activity

r-05 Contractor’s Certification Form for this credit has been completed and initialed by the Contractor, when this construction activity is complete, and has been submitted to AOR for review, verification, and inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

Specification Reference:

S01900	Existing Premises Work

02200	Earthwork

GSG Credit:	S1.6 – Environmental Site Assessment

PO to verify that remediation (if required) has been completed, and site has been returned to “residential use standards”.  Report is to be provided by the SCA’s IEH Department.

AOR to verify the following, and indicate status by completing boxes/blanks below:

Remediation Report (if remediation was required) has been provided by the SCA’s IEH department to AOR for inclusion in submission. ( Post-Remediation Activity

Date:

Documentation of Restoration of site (if remediation was required) has been provided by the SCA’s IEH department to AOR for inclusion in submission. ( Post-Remediation Activity

Date:

Design Team Certification Form - Construction Phase for this credit has been initialed by AOR, when construction activity is complete, for inclusion in the GSG Construction Phase Submission.

( Pre-TCO Activity

Date:

Related project-specific specifications prepared by SCA IEH division.

GSG Credit:	S1.7 – Brownfield Redevelopment

If site has been defined and documented as a Brownfield, PO to verify that remediation has been completed, and site has been returned to “residential use standards”.  Report is to be provided by the SCA’s IEH Department.

AOR to verify the following, and indicate status by completing boxes/blanks below:

Documentation of restoration of site has been provided by the SCA’s IEH department to AOR for inclusion in submission.( Post-Remediation Activity

Date:

Design Team Certification Form - Construction Phase for this credit has been completed and initialed by the AOR, when construction activity is complete, for inclusion in the GSG Construction Phase Submission. ( Pre-TCO Activity

Date:

Project specific specifications prepared by SCA IEH division

GSG Credit:	S3.1 – Site Development, Protect or Restore Habitat

AOR to update documentation (i.e., site/landscape plans) during construction phase as necessary.

AOR to verify the following, and indicate status by completing boxes/blanks below:

Updated Documentation for this credit has been provided (as necessary) by AOR when construction activity is complete.  This is required for inclusion in the GSG Construction Phase Submission.

( Post-Sitework Activity

Date:

Design Team Certification Form - Construction Phase for this credit has been completed and initialed by the AOR, when construction activity is complete, for inclusion in the GSG Construction Phase Submission. ( Pre-TCO Activity

Date:

Specification Reference:

02200	Earthwork

02900	Landscaping

GSG Credit:	E1.1R - Fundamental Commissioning of the Building Energy Systems

E1.2R - Enhanced Commissioning (when applicable)

AOR to verify the following, and indicate status by completing boxes/blanks below:

Close-out activities are being entered into CM13 by respective responsible parties.

( During and Post-Construction Activity

Date:

Commissioning Authority (CxA) is assigned and tracking all close-out activities.

( During and Post-Construction Activity

Date:

Specification Reference:

S01650 	Facility Start-up, Demonstration, and Training

S01660 	Supplemental Commissioning Requirements

References to Commissioning throughout specifications

GSG Credit:	E3.1R – Measurement and Verification

PO to verify that Electrical and Plumbing subcontractors have ordered their respective utilities meters to include the specified BMS interface device, and that the Contractor has provided the necessary coordination between trades for the integration of the various building systems into the BMS.

FMSI will issue a statement to AOR that the utility meters and other submeters are displayed on the SOC.  AOR is to include this statement in the GSG Construction Phase submission.

EOR to verify the following to AOR, who is to indicate status by completing boxes/blanks below:

Verification that Utility gas meter and other submeters with BMS interface has been provided to EOR by Plumbing Subcontractor and installation coordinated with TCC. ( During Construction Activity

Date:

Verification that Utility electric meter and other submeters with BMS interface has been provided to EOR by Electrical Subcontractor and installation coordinated with TCC. ( During Construction Activity

Date:

Design Team Certification Form - Construction Phase for this credit has been initialed by the EOR (with updated documentation as needed), when construction activity is complete, for inclusion in the GSG Construction Phase Submission. ( Pre-TCO Activity

Date:

Specification Reference:

15416	Gas Piping System				15985	Sequence of Operations

15970 	Temperature Control systems			16420	Service Entrance Equipment

15973	Facility Management Systems Integration

GSG Credit:	E4.1R - Minimum Energy Performance

AOR to verify the following, and indicate status by completing boxes/blanks below:

r-06 City of New York Local Law 86/2005 Reporting Worksheet has been initialed by EOR and provided to AOR for inclusion in the GSG Construction Phase Submission. ( Pre-TCO Activity

Date:

GSG Credit:	E5.1R – Green Power

New York City has stated that they are providing the requisite green power to meet this credit for all city projects, and thus by such fiat the credit can be initialed by the AOR.

AOR to verify the following, and indicate status by completing boxes/blanks below:

	Design Team Certification Form - Construction Phase for this credit has been initialed by AOR, for inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

GSG Credit:	M1.1R – Storage and Collection of Recyclables

AOR to verify the following, and indicate status by completing boxes/blanks below:

Appropriate Recycling Bins have been provided by the Authority’s FFE department and confirmed by the PO.( During-Construction Activity

Date:

GSG Credit:	M1.2 – Building Reuse, Maintain 75% of Existing Walls, Floors & Roof

M1.3 – Building Reuse, Maintain 95% of Existing Walls, Floors & Roof

M1.4 – Building Reuse, Maintain 50% of Interior Non-Structural Elements

AOR to verify the following, and indicate status by completing boxes/blanks below:

Final Building Reuse Calculation Form has been prepared by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits have been completed and initialed by AOR, for inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

GSG Credit:	M1.5R, M1.6, M1.7 – Demolition/Construction Waste Management

PO to verify that Contractor implements all measures required for project to divert 75% minimum (with a goal of 95%) of demolition/construction waste material from landfills (Feasibility of reaching 95% thresholds is determined during the construction phase.)

Contractor tracks every carting ticket with specific detail for inclusion in their monthly tracking submission. Contractor’s monthly tracking data will total to Final Project Data submission for this credit.

PO to verify that the Contractor provides the following information/submittals to AOR.

AOR to verify the following, and indicate status by completing boxes/blanks below:

Construction Waste Management (CWM) Plan has been developed by Contractor prior to start of demolition activity, and has been submitted to AOR for review.  (AOR may provide sample plan for Contractor to edit.) ( Pre-Demolition and Construction Activity

Date:

Monthly CWM Progress/Tracking Reports prepared by Contractor and waste hauler have been submitted (beginning at the start of demolition) to PO with each application for payment.  These reports summarize the daily waste reports, including amounts and destinations for materials to be landfilled and recycled and include a monthly summary and a project-to-date total as well.  PO has provided them to AOR for inclusion in the GSG Construction Phase submission.

( During-Demolition and Construction Activity

r-01 Construction Waste Management Form prepared by Contractor, along with the monthly reports, monthly summary and project-to-date totals, to document the description and quantity of each material recycled or diverted to a landfill, has been submitted to the AOR for inclusion in the GSG Construction Phase submission. ( Post-Demolition and Pre-TCO Activity

Latest report date:

Percentage Diverted:

r-05 Contractor’s Certification Form for these credits have been completed and initialed by Contractor, when construction activity is complete, and have been submitted to AOR for inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

Specification Reference:

S01524 	Construction Waste Management

02060 	Building Demolition

02070 	Selective Removals & Demolition

GSG Credits:	M2.1R, M 2.2 - Recycled materials

M2.3, M2.4 - Regional Materials

M2.5R - Wallboard & Roof Deck Products, Mold Resistance

Credit Requirements for materials included in CSI Division 2-10 sections are to be tracked and tabulated for:

- Recycled content

- Regional extraction and manufacture

- Mold resistance (as applicable)

PO to verify that Contractor is tracking specific detail on recycled content, regional sourcing, and material values every time materials are brought on the site.  Contractor’s detailed tracking are to be included in the required monthly tracking submissions; monthly tracking data will total to Final Project Data submissions for these credits.

AOR to verify the following, and indicate status by completing boxes/blanks below:

r-02 Contractor’s Sustainable Materials Form, providing information on recycled content and regional materials, for materials in CSI Divisions 2-10, has been provided by Contractor.  The Contractor has submitted this form, along with all relevant submittals (MSDS, Data sheets or manufacturer letter verifying that products meet relevant requirements), to AOR for review and tracking.

( During-Construction Activity

Date:

r-03 Contractor’s Sustainable Materials-Tracking Form, providing information on recycled content and regional materials, for materials in CSI Divisions 2-10, has been completed by Contractor on a monthly basis and submitted with each application for payment.  The Contractor has submitted this form, along with all relevant submittals (MSDS, Data sheets or manufacturer letter verifying that products meet relevant requirements), to AOR for review and tracking. ( During-Construction Activity

Date:

Schedule of Values for Divisions 2-10 for this credit has been provided by Contractor as baseline for materials tracking. ( During-Construction Activity

Value Amount:  $

Regional Material & Recycled Content-Summary Forms for these credits, based on Contractor’s Sustainable Materials Forms and construction cost figures, have been completed by AOR, after construction activity is complete using information provided by Contractor, for inclusion in the Construction Phase GSG submission. ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits have been initialed by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission.

( ( Pre-TCO Activity

Date:

Specification Reference:

| G01600 | Material and Equipment | 08110 | Steel Doors and Frames |
| --- | --- | --- | --- |
| 02200 | Earthwork | 08220 | Fiberglass Reinforced Polyester Doors |
| 02511 | Asphaltic Concrete Paving | 08330 | Coiling Doors, Grilles and Shutters |
| 02513 | Sidewalk and Street Paving | 08510 | Steel Windows - Projected, Casement, Pivoted, Hung |
| 02516 | Exposed Porous Asphalt Paving and Aggregate Base | 08522 | Aluminum Double-Hung Windows |
| 02900 | Landscaping | 08524 | Aluminum Projected Windows |
| 03200 | Concrete Reinforcement | 08621 | Fiberglass Sandwich Panel Skylights |
| 03300 | Cast-In-Place Concrete | 08662 | Security Screens/Barriers |
| 04200 | Unit Masonry | 08920 | Aluminum Curtain Walls |
| 04435 | Cast Stone | 09260 | Gypsum Board Assemblies |
| 05120 | Structural Steel | 09310 | Ceramic Tiles |
| 05210 | Open Web Steel Joist, K-Series | 09410 | Terrazzo - Portland Cement |
| 05220 | Longspan Steel Joists, LH-Series | 09510 | Acoustic Ceilings |
| 05230 | Steel Joist Girders | 09650 | Resilient Flooring |
| 05300 | Metal Deck | 09680 | Carpet |
| 05710 | Steel Stairs | 09685 | Carpet Tiles |
| 07120 | Fluid-Applied Waterproofing for Plaza Decks | 10151 | Toilet Compartments |
| 07211 | Perimeter Foundation Insulation | 10185 | Plastic Shower and Dressing Compartments |
| 07212 | Miscellaneous Building Insulation | 10350 | Flagpole |
| 07250 | Sprayed Fire-Resistive Materials | 10505 | Metal Lockers |
| 07560 | Fluid-Applied Protected Membrane Roofing |  |  |
| 07561 | Fluid-Applied Protected Membrane Roofing (Planted Type I) |  |  |

GSG Credit:	M2.6R – Low Mercury Lighting

Note that credit pertains only to projects containing fluorescent lighting.

PO to verify the following; AOR to indicate status by completing boxes/blanks below:

Low Mercury Lighting Submittals have been provided by Contractor to AOR.  These include MSDS, Data sheets or manufacturer letters indicating relevant requirements for lamps, if fluorescent lamps have been used on project. ( During-Construction Activity

Date:

Specification Reference:

16501	Lamps, Ballast and Accessories

GSG Credit:	Q1.1R - Minimum IAQ Performance

PO to verify the following; AOR to indicate status by completing boxes/blanks below:

Approved Air Balancing Report has been provided by Contractor to the AOR.  Only cover page and EOR approval stamp are required for inclusion in GSG Construction Phase Submission.

( Post-TCO Activity

Date:

GSG Credit:	Q2.1R – Construction IAQ Management Plan, During Construction

PO to verify that Contractor implements all measures required by the Construction Indoor Air Quality (CIAQ) Management Plan.

PO to verify the following; AOR to indicate status by completing boxes/blanks below:

Construction Indoor Air Quality (CIAQ) Management Plan has been developed and submitted by Contractor to AOR for review before building is enclosed.  (AOR may provide sample plan for Contractor to edit.)  During construction, Contractor has submitted cut sheets of filtration media proposed for use to AOR for review and tracking. ( Pre-Construction Activity

Date:

Contractor’s Digital Photos showing different SMACNA IAQ measures implemented during construction have been provided to AOR for review and tracking.  At least six (6) photos dated and annotated to indicate specific measures have been provided. ( During-Construction Activity

Date:

r-05 Contractor’s Certification Form for this credit has been completed and initialed by Contractor, and provided to AOR for inclusion in the GSG Construction Phase submission. ( Pre-TCO Activity

Date:

Specification Reference:

S01550 	Indoor Air Quality Requirements

S01560	Installation Sequence of Finish Materials

GSG Credit:	Q 2.2R – Construction IAQ Management Plan, Before Occupancy

As building construction is nearing completion, PO to verify work will be complete to allow for the building flush-out prior to occupancy as per schedule and to flag issues that may prevent the flush-out per the approved plan.  PO to verify that Contractor performs the flush-out required prior to occupancy and as required thereafter if Contractor selects that path.

PO to verify the following; AOR to indicate status by completing boxes/blanks below:

Pre-Flush-OutNarrative and Calculations, in advance of flush-out, has been provided by Contractor to AOR for review and acceptance.  Description of the project’s specific flush-out procedures include proposed data on temperature, airflow, filters to be used during flush-out, and duration.

( Pre-Flush Out Activity

Dates:

Construction schedule for flush-out period has been provided for by Contractor, in coordination with overall construction schedule, to ensure time/schedule allows for required flush-out durations.  This activity has been coordinated with the PO, and schedule has been provided to the AOR for review and verification. ( Pre-Flush Out Activity

Dates:

Post-Flush-Out Narrative, after completion of the flush-out, confirming the flush-out procedure was followed including the dates of the flush-out have been provided by Contractor to the AOR for review and verification.  Narrative to indicate any changes from the pre-flush-out narrative.

( Post-Flush Out Activity

Date:

r-05 Contractor’s Certification Form for this credit has been completed and initialed by Contractor, after construction activity is complete, and provided to AOR for inclusion in the GSG Construction Phase submission. ( Post TCO Activity

Date:

Specification Reference:

S01550 	Indoor Air Quality Requirements

GSG Credit:	Q3.1R - Low Emitting Materials, Adhesives & Sealants

AOR to verify the following, and indicate status by completing boxes/blanks below:

Low Emitting Materials Submittals relevant to this credit have been submitted, throughout construction, by Contractor to AOR for review, verification and tracking.  These include including MSDS, Data sheets or manufacturer letters verifying that products meet relevant requirements.

( During-Construction Activity

Date:

Low-Emitting Materials - Summary Forms A & B have been completed by AOR, after construction activity is complete using information provided by Contractor, for inclusion in the Construction Phase GSG submission. ( ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits has been initialed by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission.

( ( Pre-TCO Activity

Date:

Specification Reference:

| G01600 | Material and Equipment | 09310 | Ceramic Tiles |
| --- | --- | --- | --- |
| 06100 | Rough Carpentry | 09510 | Acoustic Ceilings |
| 06200 | Finish Carpentry | 09650 | Resilient Flooring |
| 06410 | Custom Casework | 09680 | Carpet |
| 07900 | Joint Sealers | 09685 | Carpet Tiles |
| 08210 | Wood Doors | 10100 | Visual Display Boards |
| 08211 | Wood Doors | 10415 | Bulletin Boards, Glazed Display Boards, Display Cabinets & Cases |
| 08522 | Aluminum Double-Hung Windows | 10400 | Identifying devices |
| 08524 | Aluminum Projected Windows | 10652 | Electrically Operated Folding Panel Partitions |
| 08510 | Steel Windows - Projected, Casement, Pivoted, Hung | 10653 | Manually Operated Folding Panel Partitions |
| 08610 | Replacement Wood Windows | 10830 | Mirrors |
| 08800 | Glazing | 11600 | Laboratory Equipment |
| 08920 | Aluminum Curtain Walls | 12345 | Soapstone |
| 09260 | Gypsum Board Assemblies | Div 15 | All HVAC and P&D Adhesives and sealers |

GSG Credit:	Q3.2R - Low Emitting Materials, Paints & Coatings

AOR to verify the following, and indicate status by completing boxes/blanks below:

Low Emitting Materials Submittals relevant to this credit have been submitted, throughout construction, by Contractor to AOR for review, verification and tracking.  These include including MSDS, Data sheets or manufacturer letters verifying that products meet relevant requirements.

( During-Construction Activity

Date:

Low-Emitting Materials - Summary Forms A & B have been completed by AOR, after construction activity is complete using information provided by Contractor, for inclusion in the Construction Phase GSG submission. ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits has been initialed by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission.

( ( Pre-TCO Activity

Date:

Specification Reference:

| G01600 | Material and Equipment | 09705 | Resinous Flooring |
| --- | --- | --- | --- |
| 09410 | Portland Cement Terrazzo | 09800 | Special Coatings |
| 09590 | Wood Flooring | 10270 | Access Flooring |
| 09626 | Resilient Athletic Flooring | 12345 | Soapstone |
| 09900 | Painting | Div 15 | All HVAC and P&D paints and coatings |
| 09675 | Fluid-Applied Equipment Room Flooring |  |  |

GSG Credit:	Q3.3R - Low Emitting Materials, Flooring Systems

AOR to verify the following, and indicate status by completing boxes/blanks below:

Low Emitting Materials Submittals relevant to this credit have been submitted, throughout construction, by Contractor to AOR for review, verification and tracking.  These include including MSDS, Data sheets or manufacturer letters verifying that products meet relevant requirements.

( During-Construction Activity

Date:

Low-Emitting Materials - Summary Form B has been completed by AOR, after construction activity is complete using information provided by Contractor, for inclusion in the Construction Phase GSG submission. ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits has been initialed by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission.

( ( Pre-TCO Activity

Date:

Specification Reference:

| 09650 | Resilient Flooring |  |  |
| --- | --- | --- | --- |
| 09680 | Carpet |  |  |
| 09685 | Carpet Tiles |  |  |

GSG Credit:	Q3.4R - Low Emitting Materials, Composite Wood and Agrifiber Products

AOR to verify the following, and indicate status by completing boxes/blanks below:

Low Emitting Materials Submittals relevant to this credit have been submitted, throughout construction, by Contractor to AOR for review, verification and tracking.  These include including MSDS, Data sheets or manufacturer letters verifying that products meet relevant requirements.

( During-Construction Activity

Date:

Low-Emitting Materials - Summary Form B has been completed by AOR, after construction activity is complete using information provided by Contractor, for inclusion in the Construction Phase GSG submission. ( Pre-TCO Activity

Date:

Design Team Certification Form - Construction Phase for these credits has been initialed by AOR, after construction activity is complete, for inclusion in the GSG Construction Phase submission.

( Pre-TCO Activity

Date:

Specification Reference:

| 06100 | Rough Carpentry | 10653 | Manually Operated Folding Panel Partitions |
| --- | --- | --- | --- |
| 06200 | Finish Carpentry | 11500 | Shop Equipment |
| 06410 | Custom Casework | 11600 | Laboratory Equipment |
| 08210 | Wood Doors | 12302 | Manufactured Wood Casework |
| 08211 | Wood Doors | 12710 | Fixed Audience Seating |
| 09590 | Wood Flooring | 12761 | Wood Bleachers |
| 10415 | Bulletin Boards, Glazed Display Boards, Display Cabinets & Cases |  |  |
| 10652 | Electrically Operated Folding Panel Partitions |  |  |

GSG Credit:	Q 4.3R – Provide HEPA Vacuums

AOR to verify the following, and indicate status by completing boxes/blanks below:

HEPA vacuum has been included on the custodial equipment list, and SCA PO has confirmed that it has been provided. ( Pre-TCO Activity